### 1. Project Overview

The goal is to develop a web-based and mobile-friendly Calibration Management System using a Microsoft SQL Server backend and a Power Apps (or similar) frontend. This system will replace an existing MS Access database and paper-based records.

### 2. Technical Architecture

- Database: MS SQL Server (hosted in Azure).

- Interface: Mobile-responsive app for tablets/phones and a web dashboard for office PCs.

- Offline Capability: Technicians must be able to record data in "dead zones" and sync when a connection is restored.

### 3. Key Functional Requirements

#### A. Asset Registry

- Migration of existing data from MS Access to SQL Server.

- Fields for: Tag ID, Serial Number, Manufacturer, Range (Min/Max), and Unit of Measure.

- Ability to set "Calibration Intervals" (e.g., 6, 12, 24 months) with automatic "Next Due Date" calculation.

#### B. Mobile Data Entry

- Search/Scan: Find assets via text search or by using the device camera to scan QR/Barcodes.

- Smart Templates: The entry screen must adapt based on the instrument type:

  - Temperature: Reference °C vs. Measured °C.

  - pH/Conductivity: Include fields for Buffer Lot Numbers and Expiration Dates.

  - Level/Pressure: 5-point check (0%, 25%, 50%, 75%, 100%) comparing Input to 4-20mA Output.

- Instant Logic: The app must calculate "Error %" and display a Red/Green (Pass/Fail) status immediately upon data entry.

#### C. Compliance & Traceability

- Master Standards: A module to manage the company’s master calibrators. The system must prevent calibration from being saved if the master tool used is past its own calibration expiry date.

- Digital Signatures: Capture on-screen signatures for both the Technician and a Supervisor.

- Audit Trail: An automated log that records every change made to a record (User ID, Timestamp, Old Value, New Value). Records must be immutable once "Approved."

#### D. Output & Reporting

- PDF Generation: Automatic generation of a formal Calibration Certificate (formatted to company standards).

- Dashboard: A "Status at a Glance" view showing:

  - Instruments Overdue for Calibration.

  - Instruments are coming due in the next 90 days.

  - Pass/Fail rates by department.

### 4. User Roles

- Technician: Can view assets and perform/edit their own calibrations.

- Supervisor: Can approve records, manage the Master Tool list, and edit Asset details.

- Admin/Auditor: View-only access to all reports and the Audit Trail.

### 5. Success Criteria

- Successful migration of 100% of historical data from Access.

- Ability to generate a PDF certificate in under 10 seconds.

- System must demonstrate "Offline-to-Online" data syncing without data loss.